PARISH CLERK: Sara Archer, 204 Monkton St, Monkton, Ramsgate, Kent CT12 4JN

Tel:01843 821989    E: clerk@monktonparish.co.uk

Minutes of the Parish Council Meeting held on

7th March 2022 at 7:00pm in Monkton Village Hall

Present	Parish Councillors   Gilly Brown [GB], Davina Ransom [DR], Chris Ransom [CR], Claire Beavis [CB], Steve Bennett [SB]

In Attendance	Sara Archer – Clerk, KCC Councillors Derek Crow-Brown & Linda Wright, District Councillor Abi Smith

Michael Cook – SW Sewer Network Manager, Mark Macey – SW County Sewage Engineer,

Kelly Robinson – SW Customer Contract Manager, plus 15 members of the public.

70/21-22	APOLOGIES FOR ABSENCE

Apologies had been received from PCSO Debbie Forsyth, District Councillor Reece Pugh.

71/21-22            DECLARATIONS OF INTERESTS

No pecuniary interests were declared.  Cllrs Brown, D. Ransom and C. Ransom declared an interest in item 72, due to living in properties affected by the sewage flooding issues to be discussed.

72/21-22	SOUTHERN WATER

The representatives from Southern Water - Mark Macey, Michael Cook and Kelly Robinson were introduced. Mark Macey offered sincere apologies on behalf of Southern Water, for all of the problems experienced in the Village.  He explained that a CCTV survey had been undertaken of the combined sewer, which showed the drains were heavily soiled with fat, oil and grease deposits.  There were also obstructions caused by root infestation and suspected concrete.  All of which exacerbated the flooding issues.  The obstructions had since been removed.

Connectivity surveys were being conducted at 102, 104, 106, 162, 164 and 168 Monkton Street to examine the feasibility of installing non-return valves (NRV), anti-flooding devices (AFD) following the removal of roof water drainage to reduce the potential of flooding.  As adjacent properties were sited lower than those properties identified above, the engineers need to ensure the flooding problem would not be deflected onto them following the installation of the AFD.  The Foxhunter Caravan Park had also been identified as requiring a connectivity survey.  Outstanding surveys would be carried out within the next 3-4 weeks.

It was confirmed that although Southern Water are a consultee with larger planning developments, unfortunately, they have no authority to prevent developers connecting to the utility.

The representatives were challenged why Southern Water do not take a more pro-active approach when responding to planning applications, indicating that the current sewage system can not cope with additional connections to the drainage pipes.  It was clarified that the system is able to cope with water and drainage, however, due to the oil, fat and grease clogging up the pipes, it is not running at full capacity.  Work is being undertaken with developers to explore other solutions and options to deal with water discharge rather than connect to the existing system, eg surface water separation, permeable paving, surface water ponds, in areas where issues have been identified.

It was acknowledged the Victorian sewer system was constantly being upgraded, however, connectivity demand outweighed the ability to stay ahead of the work necessary to ensure the system functioned at it’s optimum capacity.  Government funding had been invested into solutions to take the pressure off the drainage systems.  Education was also key in moving forward to ensure people only flushed paper and waste into the drains, and not fats, grease or wipes etc.

The representatives agreed to take forward a number of suggestions including better engagement with housing developers in the localities when planning applications are submitted, particularly in areas such as Monkton, which have been highlighted as experiencing operational issues.

They would also make enquiries with regard to the pumping station at Walters Hall which had been identified as being problematic.

It was agreed that individuals also needed to take responsibility to ensure nothing is washed into the drains that could cause problems, such as sand, cement, grease etc… Previously, Southern Water had provided special dishes to resident’s to enable waste fats to be recycled into bird feeders, this suggestion would be revisited and enquiries made whether the supply of dishes could be reintroduced.

Mark Macey concluded the discussions by advising that Southern Water were in regular communication with KCC.  Changes were being made to the service delivered by the company, to ensure they were more pro-active with the community.  The drainage system in Monkton was being monitored and any problems identified were being dealt with accordingly.  AFD’s would be fitted at each property identified as experiencing problems, providing the roof drainage was disconnected and feasibility study had a positive outcome, to resolve the flooding issues.

The Network modelling team would also liaise with developers to ensure the system had capacity for additional connections.

73/21-22	PUBLIC QUESTION TIME

- It was noted the mini roundabout and give way markings at the bottom of Willets Hill needed remarking.  The issue would be included on the Highways Improvement Plan.

- An explanation of the severity of flooding experienced in Monkton was offered.

- Caroline Fleming- Chair of Minster Action Group, was thanked for her support at the meeting.  Resident’s were encouraged to engage with surrounding parish action groups to share common issues and provide support.  The Community Planning Alliance was a particularly useful and informative website.

74/21-22	MINUTES OF PARISH COUNCIL MEETING

It was resolved to accept the minutes of the previous Parish Council meeting held on

7th February 2022 as a true record.  These were proposed by Cllr Beavis and Seconded by Cllr Bennett and duly signed by the Chair.

75/21-22	CHAIRMAN’S UPDATE

Cllr Brown advised that a site meeting had been arranged for 8.3.22 to discuss the problem flooding at the bottom of Willets Hill to Seamark Close. The meeting will be attended by The Internal Drainage Board (the agricultural watercourses fall under their remit), KCC Highways (responsible for road water drainage), the owner of the land on which the ditch runs, Nicola Dyas (whose land is needed to access the ditch) and the Parish Council. It is hoped an agreement can be reached to clear the ditch, resolve the problem and agree future maintenance to ensure the storm drains function more effectively.

An update on all grant financing received for the play area redevelopment project will be discussed at the next meeting in April along with a start date for the project to commence.

Repairs to the broken section of fencing around the play area have been instructed,  Cllr Bennett confirmed work is scheduled to begin at the end of March.

Cllr Brown confirmed an appeal against TDC’s refusal of planning application for Heyhill (Land rear of 92-102 Monkton Street) OL/TH/21/0761 had now been submitted.  A Statement of the Grounds for Appeal can be found on TDC website.  Villagers were invited to make further comments to the Inspectorate by 29 March noting however, comments can only relate to the grounds for appeal.

Unfortunately, Margaret Gausden recently broke her shoulder in a fall; the Parish Council would like to send their very best wishes for a speedy recovery, and hope she will soon be back to full health and mobility.

76/21-22	FINANCIAL MATTERS

Payments and banking reconciliations to be approved at the next meeting.

77/21-22	DATES OF THE NEXT MEETINGS

4th April (Methodist Church), 9th May, 4th July, 5th Sept, 7th Nov, 7pm Monkton Village Hall – unless stated otherwise.

Meeting concluded by the Chair at 8:20pm